# Well Flow Meter
This meter sometimes sticks when the well pump turns off. If you tap the meter with a screwdriver or other piece of metal, it should return to zero.
Historically, the well provided ~13 GPM according to this meter. In the 25/26 winter it dropped to 4/5 GPM. After the ph Treatment Tank was bypassed this meter reads at 20 GPM+ (off the gauge).