# ph Treatment Tank Replacement
# Description
In June 2026, in the process of troubleshooting the well pump, the ph Treatment Tank imploded.
It was discovered when this tank was bypassed flow increased from 5gpm to >15gpm.