# Questions
# Maintenance
- Flush dead ends?
- Operate all valves?
- Reservoir cleaning?
# Procedures
- Can we talk through leak detection procedure?
- Can we talk through loss of pressure procedure?
# Shutoff boxes
Whats up with Div 1 boxes?
# Pump house
- Should we get rid of chlorine stuff?
- Would the ph and iron tanks even be good if we did need them? Sitting full of water for who knows how long?
- Do we need the third pressure tank?
- If we replace the well flow gauge with the badger meter, to get GPM would we just stop watch it?
- Sanitary survey recommended shutoff valves for the pressure tanks. Don't we have those?
- I want to label each valve with and ID and its normal state. Good idea?
# Claval
Can we go look at it?
# Main Shutoff Valves
- Can we go look at the div 3 and div 1 shutoffs?
- If you shut off the main, do you always need to open a blow off?
- When do you want to open the blowoffs?
- To where was the new main installed in Div 3?
# Cross Connection
Does a CC specialist need to inspect each home?